## Slide 1: EN302/642 Power Generation and Systems Planning
LC102 (Monday-Thursday 7:00 pm to 8:25 pm)
Instructor: Suneet Singh
Credits: 6

## Slide 2: Text Book
Harry G. Stoll, “Least-Cost Electric Utility Planning”, John Wiley and Sons, NY, USA, 1989.
Wood and Wollenberg, “Power Generation, Operation, and Control”, John Wiley and Sons, NY, USA, 2012.
P. K. Nag, “Power Plant Engineering”, Tata McGraw Hill, New Delhi, 2008.
Other sources will be shared on the moodle
The chapters which are covered will be announced during lectures.

## Slide 3: Exams and Assignments
There will be three exams:
Midsem: 31.5%
Second Exam: 31.5%
End Sem: 37%
Exams will have both numerical and reasoning questions (Short how and why questions, very rarely some facts)
Assignments: Non Evaluative

## Slide 4: Grading Policy
AA:85+
AB:75-84
BB: 65-74
BC: 56-64
CC: 47-55
CD: 38-46
DD: 30-37
The grade requirement for each grade can be reduced by some points (typically order of 5-6 points) on my discretion (but will not be increased).

## Slide 5: About the course
Deals with economic operation of power generation.
Generation technology mix and future addition of generation capacity addition need to be addressed.
Load forecasting is an important aspect.
Reliability of the power generation systems have impact on its economics.
Capital Cost and operation cost need to be assessed.
Efficiency improvement, in general, are capital intensive but reduce operational cost.
Nowadays demand side management (by changing user behaviour) also is considered important from utility perspective.

## Slide 6: Course outline
Economics of Power plant :
(a) Understanding of capital cost, operating cost, calculation of LCOE.
(b) Optimal technology mix and operating regimes : screening curves
Thermodynamic power cycles:
(a) Rankine cycle : Efficiency improvement, advanced cycles, organic rankine cycle, cogeneration
(b) Brayton cycle
(c) Combined cycles

## Slide 7
Reliability of power plants:
(a)Calculation of LOLP and LOEP
(b) Generation addition planning and maintenance scheduling
Optimal dispatch:
(a) Load sharing between power plants, unit commitment
(b) Hydrothermal coordination
Load Forecasting:
(a) Econometric (Regression analysis)
(b) Time series
(c) Other methods
Demand Side Management
Current World and Indian Scenario
Economics of power generation with renewables and markets